## Rental Price List - TT$
R.O.S.E. Environmental Limited
Rental Equipment List- 2017
DESCRIPTION
1. GAS DETECTION
THE PPB RAE 3000 VOC MONITOR. The ppbRAE 3000 is used for monitoring CBRNE, HazMat Response, Civil Defense, Oil & Gas, and other hazardous environments. Using a 3rd gen photoionization detector (PID) and built-in correction factors for more than 200 compounds, the ppbRAE 3000 is the most advanced VOC monitor for parts-per-billion (ppb) detection available. It measures the presence of VOCs from 1ppb-10,000ppm with a three-second response time. Optional built-in Mesh Radio enables real-time monitoring of instrument readings wirelessly. Another option is Bluetooth, which can relay readings and alarm status up to 2 miles to a RAELink 3 wireless transmitter. And a rugged housing, large display, and large keys that can be operated with three layers of gloves all make for a unit that’s easy to use and maintain.
*****************
THE SENTRY RAE GAS DETECTOR is the first “lunchbox”-sized, portable, pumped monitor to combine a PID (Photoionization Detector) and standard four gas confined space monitor (O2, LEL, and two toxic gas sensors) in one product that can run over 24 hours on either rechargeable Lithium-ion or alkaline batteries.
*****************
The UltraRAE 3000 is the most advanced compound-specific monitor on the market and one of the few monitors that deliver accurate measurement of benzene from 50 ppb to 200 ppm and other VOCs up to 10,000 ppm. A 60-second response for a benzene measurement snapshot and a unique 15-minute benzene STEL measurement provide excellent versatility for entry pre-screening, marine spill response, and refinery down-stream monitoring. Optional built-in Mesh Radio enables real-time monitoring of instrument readings wirelessly. Another option is Bluetooth, which can relay readings and alarm status up to 2 miles to a RAELink 3 wireless transmitter.
*****************
The MultiRAE Lite provides versatile, customizable detection and monitoring of up to six gases, available in both pumped and diffused air models. With more than 25 sensors to choose from — the broadest selection in its class — it can test for VOCs, combustibles, and a range of toxic threats, as well as monitor sufficient oxygen levels, making it an excellent choice for personal protection and leak detection in a range of industries and applications. The wireless connection sends threat and alarm data in real time to a central command, providing superior awareness for fast incident response. And its replaceable sensors, alarm, and battery, large screen, and automated bump testing and calibration make it easy to use and maintain.
*****************
The Gasmet DX4040 FTIR Gas Analyzer can detect up to 25 gases simultaneously providing validated results in 25 seconds. Fourier Transform Infrared Spectroscopy (FTIR) provides reliable measurements with low detection limits & true multi-compound analysis capability. The library of measured gases can be changed by the user through an easy to use interface, providing exceptional flexibility and ability to respond to any measurement requirement in the field. Measurement with the DX4040 is easy; sample gas is drawn into the analyzer with a built-in pump through a handheld particle filter and Tygon tubing. The analyzer runs in continuous mode, measuring time-weighted averages of user definable length from 1 second to 5 minutes. The Gasmet DX4040 is capable of sub-ppm detection limits without using sorbent traps for sample pre-concentration, which guarantees fast response times. Zero calibration with clean air or nitrogen is the only calibration required, carrier gases, special test gases or other consumables are not needed.
*****************
The AreaRAE provides real-time wireless measurements for a range of potential threats. With a PID sensor for VOCs, an LEL sensor for combustible gases, an oxygen sensor, and two user-selectable sensors for toxic gases such as chlorine or hydrogen sulfide, you can deploy the monitor and replace sensors when circumstances change. The transportable AreaRAE Steel monitor is rugged and can run on battery, A/C power, and solar power with SolarRAE. This industry-leading wireless area monitor can also be combined with the ProRAE Guardian software, PlumeRAE, other third-party software solutions, and as part of the AreaRAE RDK for a more comprehensive view.
*****************
QRAE 3 is a versatile, rugged, one- to four-sensor pumped or diffusion gas monitor that provides continuous exposure monitoring of oxygen (O2), combustibles, and toxic gases, including hydrogen sulfide (H2S), carbon monoxide (CO), sulfur dioxide (SO2) and hydrogen cyanide (HCN) for workers and responders in hazardous environments.
*****************
This ECHO VIEW HOST mini-controller functions as the center for a mobile wireless network of RAE Systems portable gas monitors to increase awareness, improve decision-making, and speed up incident response. The EchoView Host can receive communications from up to eight monitors and display their call names, readings, and alarm status in real time on an easy-to-read screen. With a communication range extendable to over one kilometer using Mesh Routers, the EchoView Host gives safety officers remote access to gas concentration data directly from the hot zone. Water-proof, dust-tight, and intrinsically safe for Class I, Division 1 hazardous environments, it’s a rugged device that can run up to 10 days on a single battery.
*****************
The MeshGuard FMC 2000 is a multi-channel controller. The command and control center of the MeshGuard intelligent, self-healing network, this fixed device features five programmable relays to trigger alarms or process controls, a large LCD display, and digital or Ethernet outputs. With DC power input, plus a 15-hour battery back up, and a rugged, stainless steel housing, it provides reliable control, quick installation with magnets, and intuitive operation.
*****************
The RAE MeshGuard Monitor is the leading gas detection system that is rapidly deployable in numerous industrial and remote monitoring applications. The MeshGuard is a rugged, battery powered toxic gas detector integrated with a wireless mesh radio modemMeshGuard is a rugged, battery-powered toxic gas detector integrated with a wireless mesh radio modem. Key features include extremely fast installation, self-configuration of the network, and worldwide approved wireless frequency coverage. Designed for use in harsh environments and easy to service in the field, MeshGuard is a truly unique wireless solution for remote chemical detection in hazardous areas. Must be used in conjunction with the FMC 2000 Multi-Channel Controller. Sensors can be O2, H2S, LEL and NH3
*****************
The RAE Mesh Reader is a device that allows the use of PC (instead of dedicated controller) to monitor wireless detectors in real time. The RAE Mesh Reader receives data wirelessly from remote detectors, and pushes data to ProRAE Guardian softwarerunning on a PC. The RAE Mesh Reader can push data directly to a PC via RS232, or to a remote PC via ethernet. The RAE MeshReader is designed to be located in non-hazardous, indoor locations. An optional outdoor antenna with a 30ft (10m) cable can be used to extend the usage to outdoor locations
*****************
The MultiRAE Pro is a wireless device which monitors both chemical threats and gamma radiation and is the only multi-threat monitor with parts per billion precision. With the ability to wirelessly transmit threat and alarm data in real time to a central command station, the MultiRAE Pro offers improved visibility and awareness. It also gives you the flexibility to swap out 25 different sensors for a range of threats, including VOCs, toxic gases, combustibles, oxygen levels, as well as gamma radiation detection. The large display and replaceable sensors, pump, and battery make it easy to use and maintain, while five different alarms, including man down, provide the versatility you need to respond appropriately and quickly to incidents.
*****************
RAELink 3 Modem Kit. This Kit is a wireless detection system that allows the user to integrate multiple RAE air and radiation monitoring instruments, as well as limited third-party devices into a host system. Rental Price is inclusive of Dell Laptop - Latitude 15 3000 series for use with the AreaRae Pro and is inclusive of Carry Case. The unit uses the ProRAE Guardian software to log and manage the data in a user-friendly intuitive format.
*****************
Gas Clip Multi-Gas Detector with Infrared Sensor can go a full 2 months without a charge, even without ever having to be turned off. Shut down the unit nightly and the battery can last up to 4 months. It uses low-power photo-metric technology for the detection of the combustible gases (LEL). Instead of draining the battery with archaic pellistor technology, the MGC uses an IR source. This conserves power, so the battery lasts and lasts and lasts.The MGC also eliminates the need to frequently calibrate portable gas detectors. It can go 12 months without being calibrated. That saves time and increases efficiency. Also included is the GCT IR Link Module w/USB cable. This link is connected to your computer by USB, the GCT IR Link communicates directly with the Multi-Gas Monitor and MGC Dock to program special alarm set points, user options, as well as, download event logs and data logs
*****************
Probe for Gas Clip Multi-Gas Detector - A 10” aluminium sample probe with 10’ of Teflon tubing, including replaceable barrier filter.
*****************
The J2KN comes standard with 5 gas sensors to measure O2, CO, NO, NO2 and SO2, along with gas and ambient temperatures, stack draft & pressure, plus calculations of CO2, efficiency, excess air, and oxygen correction to 20%. The J2KN’s portabe handheld remote allows complete operation of the analyzer showing all values at a glance, zoom display capability, and plug-in memory up to 256 MB. The J2KN is an ideal emission analyzer where combustion controls are located away from the flue test port. Some units have a IR CO2 cell and/or combustibles cell.
*****************
The RAE MeshGuard Monitor FLAMMABLE, LEL/IR SENSOR and STAINLESS STEEL MOUNTING BRACKET Key features include extremely fast installation, self-configuration of the network, and worldwide approved wireless frequency coverage. Designed for use in harsh environments and easy to service in the field, MeshGuard is a truly unique wireless solution for remote chemical detection in hazardous areas. Must be used in conjunction with the FMC 2000 Multi-Channel Controller.
*****************
Gas Clip Technologies O2 Single Gas Clip Plus or SGC Plus, is the only maintenance free handheld gas detector available with “Hibernate” mode. “Hibernate” mode allows users to place this disposable single gas detector in a rested state when not in use. The SGC Plus is perfect for seasonal/turnaround contractors or rental fleets. When your job or turnaround is finished, simply synchronize the instrument with our IR Link or SGC Dock and put the detector in a rested state. When you are ready to use the detector again, simply press the power button to reactivate the detector.
*****************
The AreaRAE Plus can simultaneously detect toxic and combustible gases, Volatile Organic Compounds (VOCs) and meteorological factors that affect the speed and direction of the gas — all from one versatile, transportable area monitor. It also works with Honeywell’s remote monitoring software, so you can see the real-time threat readings and location of each AreaRAE Plus — and make faster, more informed safety decisions.
*****************
AreaRAE Pro is a transportable multi-threat area monitor that simultaneously detects toxic and combustible gases, Volatile Organic Compounds (VOCs), radiation, and meteorological factors that affect the speed, direction and behavior of gas — for enhanced situational awareness. It works with Honeywell’s remote monitoring software, so you can see the realtime threat readings, alarm status, location of each AreaRAE Pro and much more — and make faster, more informed safety decisions.
*****************
Attabox Polycarbonate Enclosure - for use with the RAE AreaRae Monitors
3. SOUND MEASUREMENT
QUEST HAVPRO HUMAN VIBRATION MONITOR. The HAVPRO is a compact, lightweight, fully integrated 3-channel instrument for obtaining tri-azial vibration measurements. The basic monitor is the ideal screening tool for quickly and simply determining the presence and magnitude of hazardous hand-arm or whole body vibration levels. Time history data also allows insight into exposure variations over time
*****************
QUEST SOUNDPRO DL TYPE 2 SOUND LEVEL METER. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Comes with calibrator, carry case and tripod stand
*****************
QUEST OUTDOOR MEASUREMENT SYSTEM KIT. This kit includes all the accessories needed to provide environmental protection to the SoundPro Models. The weather-resistant case protects the meter and battery pack and stores kit components while not in use
*****************
QUEST NOISEPRO PERSONAL NOISE DOSIMETER. These intrinsically safe, Type 2 dosimeters provide real-time indication of noise exposure levels in an easy-to-understand format. Large, backlit, graphical display shows measured and calculated parameters against your preselected standard. Powerful unit stores up to 40 hours of data that can also be downloaded to computer via RS-232. Rugged instrument is housed in IP-65 rated, cast aluminum case for maximum durability. Comes with Calibrator, and carry case
*****************
The Quest EDGE 4 Cable-Free Noise Dosimeter. Weighing in at just three ounces, and with no microphone cords to tangle, 3M's Edge personal noise dosimeter is comfortable to wear and easy to manage. The display features visual indication to let you know you've exceeded exposure limits. Data downloads easily to 3M data management software through the EdgeDock and your PC's USB port.
*****************
QUEST VERIFIER CLASS 2 with 1/1 Octave Filter Speech Intelligibility Meter Kit. The Verifier is a special type of sound level meter which offers simplified methodology for measurement of Speech Transmission Index-Public Address (STI-PA), to ensure voice actuated fire alarms, mass communications and PA systems are clearly heard and understood in an emergency
*****************
Quest SoundPro DL Type 1 w/1/3 Octave RTA. A Type 1 sound level meter will be accurate plus or minus-1 dB. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Class 1 accuracy with 1/1 and 1/3 octave band filters. Comes with calibrator, carry case and tripod stand
*****************
Quest SoundPro DL Type 2 w/1/3 Octave RTA. A Type 2 sound level meter has an accuracy of plus or minus 2 dB. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Class 1 accuracy with 1/1 and 1/3 octave band filters. Comes with calibrator, carry case and tripod stand
*****************
The Quest EDGE 5 Dual Channel, Cable -Free Intrinsically Safe Noise Dosimeter. Convenient cable-free design eliminates the need for troublesome microphone cable • Thin, contoured mount hugs the shoulder; compact frame offers maximum comfort • The eg5 model features the ability for a third independent dosimeter, allowing for simultaneous measurement against up to three industry standards • DMS also makes it easy to report and export data, perform advanced calculations and generate powerful reports • eg5 model has Intrinsic Safety approvals from MSHA, SIRA (ATEX), CSA (US and Canada) and Simtars (IECEx)
*****************
The SvanTek 971 Class 1 Sound Level Meter is an extremely small instrument with options for 1/1 & 1/3 octave analysis. The instrument brings unprecedented state of the art technology to a SLM of this size.The user interface makes both configuration and measurement easier than ever before. For those who don't have time to work with measurement settings, SVAN 971 offers extremely simple operational mode with Start/Stop. This innovation makes the SVAN 971 an ideal choice for many applications including industrial hygiene noise, short term environmental noise, acoustic consultants, technical engineers and general noise measurements. Another exceptional feature is built-in self-vibration monitoring providing information about level of vibration that influences the measurement results.
4. INDUSTRIAL HYGIENE
The QUESTemp 36 portable heat stress monitors incorporate wet-bulb globe temperature (WBGT) sensing technology. These portable instruments calculate and display a WBGT Index value that considers the affects of ambient air temperature, humidity, air flow (which provides an evaporative cooling effect to the body) and radiant heat from sources such as the sun, furnaces, ovens, and boilers. Heat stress monitor with an integral RH sensor for quick, accurate indoor or outdoor WBGT index values. Optimizes safe work time with real-time guidance on work/rest regimens. Has datalogging function, and are compatible with 3M Quest software for data storage, retrieval, analysis, reporting and charting. Features multiparameter sensor for accumulations of temperature, humidity and air velocity data needed to calculate a variety of thermal comfort indices.
*****************
The DustTrak™ Aerosol Monitor measures aerosols in a wide variety of environments, from offices and industrial workplaces to outdoor environmental and construction sites. TSI’s DustTrak provides reliable exposure assessment by measuring particle concentrations corresponding to PM10, PM2.5, PM1.0 or respirable size fractions
*****************
TSI VelociCALC 8386® Plus Multi-Parameter Ventilation Meter simultaneously measures and data logs several ventilation parameters using a single probe with multiple sensors. The ventilation meter measures temperature, velocity and pressure. It also features automatic calculation of flowrate and automatic conversion between actual and standard velocity readings. Model 8385 measures velocity with either a thermal sensor or a Pitot tube. The model also measures differential pressure.
*****************
TSI P-TRAK ULTRAFINE PARTICLE COUNTER. The P-Trak allows you to follow pathways of the very smallest particles right to the source. These "ultrafine" particles are far too small to see and can stay suspended in the air for long periods. By identifying these particle sources and correcting problems, you can maintain a healthier building and save wear and tear on expensive equipment.
*****************
TSI Q-TRAK Plus Indoor Air Quality Monitor. Simultaneously CO2, CO, temperature and humidity measurements. Calculates dew point, wet bulb and percent outside air; Large graphic display; Displays up to 5 measurements; On-screen messages and instructions; Supports 12 different languages; One instrument with multiple plug-in probe options including VOC’s and air velocity; Store up to 39 days of data collected at one-minute log intervals. TRAKPRO™ data analysis software provided for data logging, analysis and documenting results. Bluetooth communications for transferring data or remote polling
*****************
QuickTake® 30 Pump (10 to 30 L/min) .Designed for use with BioStage viable cascade impactor, VersaTrap spore trap cassettes, asbestos filters, or impactors. Includes keypad programmable timer, display of sample time, and end-of-cycle alarms. Accessories include mounting bracket for viable cascade impactors, sampling wand for spore trap samples in ductwork, and tripod stand.
*****************
AIRMETRICS MINIVOL PM10, PM2.5, TSP, CO, NOX PORTABLE AIR SAMPLER. Portable sampler which provides air quality data that is comparable to results from FRM samplers. Has a patented low flow technology. Particle size separation is achieved by impaction, and gas samples can be taken simultaneously with particle collection
*****************
SKC POCKET PRO MOISTURE METER. Features integrated humidity measurement and an NTC air thermometer. Use the Pocket PRO Moisture Meter for monitoring wood and material moisture to predict drying times, ensure construction best practices, and verify water damage. The alkaline battery-operated Pocket PRO Moisture Meter provides 130 hours of operation on one pair of AAA-type batteries.
*****************
SKC FIBRE OPTIC SCOPE. This powerful new fiber optic scope has been re-designed for easier examination of areas normally hidden from sight. It is ideal for internal inspection of furnaces, ducts, A/C systems, interior structures, between walls and many other HVAC and industrial applications.
*****************
The DustTrak™ II Aerosol Monitor 8530 is a desktop battery-operated, data-logging, light-scattering laser photometer that gives you real-time aerosol mass readings. It uses a sheath air system that isolates the aerosol in the optics chamber to keep the optics clean for improved reliability and low maintenance. It is suitable for clean office settings as well as harsh industrial workplaces, construction and environmental sites, and other outdoor applications. The DustTrak II Aerosol Monitor measures aerosol contaminants such as dust, smoke, fumes, and mists.
*****************
SKC AIR CHECK XR5000 with extended flow range: 5 to 5000 ml/min. Suitable for low flow gas/vapor or high flow particulate sampling. Three interchangeable battery options: high-power Li-Ion for extended runs, standard Li-Ion for lighter weight, and disposable AA alkaline batteries for fast emergency response
*****************
NEXTTEQ GV-110-S-TR GASTEC PUMP KIT. Backed with features, the standard Gastec Gas Sampling Pump (GV-100-S-TR) is the only pump you need for measuring gas and vapor concentrations quickly and accurately. Small, lightweight, and rugged, this pump is perfectly calibrated, displays ambient temperature, and includes a lifetime warranty. It is simple, always ready, and intrinsically safe. The Gastec Detector Tube and Pump System has been designed specifically with the end user in mind to allow for ease of use without compromising safety.This unit comes with a One-Hand Adapter. For use with Gastec Detector Tubes
*****************
Defender 510 calibrators make it easier than ever to calibrate air sampling pumps. Measure volumetric flow, standarized flow, which correct for temperature and pressure, or calibrate devices that read in mass flow.Defenders are true primary flow meters designed to provide light weight ultra-compact size, incorporating the industry leading DryCal technology. Building on the patented DryCal near-frictionless piston technology, the Defender 500 series incorporates features to make it immune to flow source pulsation without the need for in-line dampers.
*****************
QUEST EVM-4/CO INDOOR AIR QUALITY (datalogging) MONITOR for CO2, CO, Temperature, and Humidity, (with air probe input connector). Kit includes base model with CO2 and CO sensors, 12V DC universal power supply, toxic gas calibration adapter, USB cable, and storage case.
*****************
SKC GAST MODEL 1532 HIGH VOLUME VACUUM PUMP, 115V. Rotary vane pump with open flows to 32 L/min, locking flow valve, 10' tubing, and silencer for quieter operations.
*****************
MET ONE AEROCET 531 Mass Monitor Particle Counter. The Aerocet 531 is a small, handheld, battery operated, and completely portable unit. This unit provides both particle counts or mass PM measurements as stored datalogged values, real-time networked data, or printed results.
*****************
MYCOMETER FIELD FLOUROMETER & ACCESSORIES. The Mycometer allows for rapid onsite fungal contamination assessments, for both air and surface samples. Requires purchase of assays
*****************
Ludlum Model 3-IS Intrinsically Safe Radiation Survey Meter. The Ludlum Model 3-IS Intrinsically Safe Survey Meter was designed to be used in environments where explosives are used. These explosive resistant survey meters are often used on constructions sites, oil fields and oil rigs. The Ludlum Model 3-IS Survey Meter is Certified to: UL 913, Class I, II, & III, Division 1 Groups A,B,C,D, CSA C22.2 No.157, UL 61010-1, CSA C22.2 No. 61010-1. Measures Alpha-Beta and Gamma Radiation
*****************
Met One E-SAMPLER Aerosol Monitor. The E-SAMPLER is a dual technology instrument that combines the unequalled realtime measurement of light scatter with the accuracy standard of filter methods. Can measure PM 2.5 PM 10 or TSP
*****************
GRAY WOLF ADVANCED SENSE IAQ PRO MONITOR. This Indoor Air Quality meter configured with CO2, CO, H2S,Temperature, Relative Humidity and Total VOCs (ppb). The AdvancedSense ® Pro IAQ monitor is an IAQ meter that has been specifically developed for both walk-thru tests, and for long term tests, which includes either hours, days, and weeks. The unit has a trend logging function which are the two modes needed for checking indoor air qualities thoroughly. The model has the capacity to gauge a wide variety of gases and elements, which includes carbon dioxide, carbon monoxide, TVOCs, humidity and temperature.
*****************
GRAY WOLF MODEL FM-801. This is a Formaldehyde Multimode Monitor used for continuous monitor and spot checks. Requires the purchase of sample cartridges
Gray Wolf Formaldehyde Sensor Cartridge is sold separately. The Cartridge becomes the property of the buyer. They can use this cartridge for their formaldehyde monitoring until it becomes fully saturated. This usually takes quite a while. There is an indicator on the monitor which tells the user how many uses are still remaining
*****************
NEXTTEQ DELUXE AIRTEC REGULATOR KIT. Can detect the 5 most common contaminants in compressed gas and supplied air: Requires purchase of tubes for Oil Mist; Water Vapor; NO2; CO2; CO
*****************
FLIR C2 Compact Thermal Imaging System. The FLIR C2 is the world's first full-featured, pocket-sized thermal camera designed for a wide range of building and electrical/mechanical applications. Keep it on you so you’re ready anytime to find hidden hotspots, energy waste, structural defects, plumbing clogs, HVAC issues, and other problems. FLIR C2 makes it more affordable than ever to add the powerful advantage of thermal imaging.
*****************
FLIR Systems MR160 Imaging Moisture Meter. MR160 is your go-to troubleshooting tool right out of the box: Identify cold spots with the built-in, 80x60-resolution thermal imager to locate areas of moisture. Verify the actual moisture level using the meter's pin and pinless moisture measurement functionality. Capture thermal images and moisture readings on one screen, then generate reports with free FLIR Tools software.
*****************
GRAY WOLF Advanced Sense BE IAQ Plus Indoor Air Quality and Survey Monitoring Kit. The AdvancedSense BE meter runs highly advanced, very user-friendly application software. Display, data-log and annotate (on-site) a broad range of parameters with a single, rugged, cutting edge instrument.
*****************
Environmental Monitoring System IAQ E-Pro HD Pump Kit, flow range 2-30lpm. Proven Unitary Technology Piston Seal Material for both “Dry” and “Wet” (High Humidity) environments. the benefit to the end user is superior flow at mid-to-upper vacuum levels and significantly improved flow in high altitude. Adjustable flow of 2 LPM – 30 LP. Rotameter is +/- 4% accuracy. Includes cord; no plug
5. WATER QUALITY
*****************
YSI 55D DISSOLVED OXYGEN MONITOR. A standard hand-held DO meter, which features dissolved oxygen in mg/L or % Oxygen. Push-button calibration, a built-in calibration chamber and direct salinity altitude compensation
*****************
YSI 63 pH, CONDUCTIVITY TEMPERATURE MONITOR. Measures temperature, pH, conductivity and salinity with 50-reading memory with ID, super-stable 4 electrode conductivity cells, field-replaceable pH electrode
*****************
YSI EC 300. The EC 300 measures conductivity, specific conductance, salinity and temperature. Includes a super-stable 4-electrode conductivity cell
*****************
YSI 6920 MULTIPARAMETER WATER QUALITY INSTRUMENT SONDE. This is a logging system for long-term in situ monitoring and profiling. Set up to measure conductivity, temperature, dissolved oxygen, depth and calculates salinity. The 6920 can also be configured to measure pH and turbidity
*****************
YSI 650 MDS All 6-series sondes work with the versatile rugged and feature-packed 650 Multiparameter Display System. Easily logs real-time data, calibrates and sets up sondes for deployment and upload data to a PC with options such as barometer and GPS Interface.
*****************
YSI 600XL WATER QUALITY MONITOR. Multi-parameter water qualtiy monitor, set up to measure pH, conductivity, temperature and dissolved oxygen. A YSI 610DM must be used in conjunction with this instrument to run in the field.
*****************
YSI 6500 WATER QUALITY MONITOR. A multi-parameter water quality system which continously monitors DO, conductivity, temperature and pH. Fixed panel mount and display to interface with the YSI 600XL in a fixed monitoring application.
*****************
YSI 6600 SONDE WITH CHLOROPHYLL PROBE . A Multiparameter instrument designed for long-term monitoring and profiling c/w EcoWatch Software. Comes with 6600-11 Sensor, Chlorophyll Probe, Turbidity Probe, 100ft 8 pin Field Cable, DO Probe Kit, pH Probe Kit, Db9/Ms8 Adapter, 6-Series Backpack 8.5vdc 115v Power Supply, Manual and Carry Case
*****************
YSI 6600 SONDE WITHOUT CHLOROPHYLL PROBE . A Multiparameter instrument designed for long-term monitoring and profiling c/w EcoWatch Software. Comes with 6600-11 Sensor, Turbidity Probe, 100ft 8 pin Field Cable, DO Probe Kit, pH Probe Kit, Db9/Ms8 Adapter, 6-Series Backpack 8.5vdc 115v Power Supply, Manual and Carry Case
*****************
ISCO 6712 FULL-SIZE PORTABLE SAMPLER. Includes controller, top cover, center section, base distributor arm, two pump tubes, instruction manual and pocket guide. Also includes 24 bottle (24 x 1 L polypropylene) configuration, 25 ft suction line and strainer, and two Model 934 Ni-Cad battery packs and battery charger.
*****************
YSI 556 MPS METER. It simultaneously measures dissolved oxyge, pH, conductivity, temperature and ORP. It can store over 49,000 data sets, time and date stamped interval or multilogging
*****************
ISCO 2150 AREA VELOCITY FLOW MODULE. The 2150 Flow Module uses continuous wave Doppler technology to measure mean velocity. The sensor transmits a continuous ultrasonic wave, then measures the frequency shift of returned echoes reflected by air bubbles or particles in the flow.
*****************
ISCO 4110 ULTRASONIC FLOW LOGGER. For flow measurement in streams containing harsh chemicals, grease or suspended solids. The logger features a non-contacting sensor that quickly and easily installs above the flow stream.
*****************
ISCO GLS WATER SAMPLER. Automatic composite water sampler, which comes complete with nicad battery pack, charger, suction line, strainer and sample bottle.
*****************
ISCO 750 AREA VELOCITY LOW PROFILE MODULE. The sensor on the 750 module uses Doppler technology to directly measure average velocity in the flow stream. An integral pressure transducer measures liquid depth to determine flow area
*****************
GLOBAL FLOW PROBE - This is a highly accurate, lightweight water velocity instrument that is excellent for storm water runoff studies, measuring flows in streams, rivers and partially filled pipes. The anodized aluminium telescoping handle is available in lengths that extend from 5ft. to 15ft.
*****************
LA MOTTE TC-3000e TRI-METER. This is a compact water analysis instrument designed for precision measurements of Turbidity, Chlorine and Color. It is equipped with an advanced microprocessor to drive a patent pending optical system that permits EPA or ISO compliant measurements for the water and wastewater analyst.
*****************
LA MOTTE SMART SPECTROPHOTOMETER. Over 80 pre-programmed tests included, and 25 user calibrations can be entered into the memory using reagent systems. REAGENTS SOLD SEPARATELY.
*****************
YSI PROFESSIONAL PLUS MULTIPARAMETER METER provides extreme flexibility for the measurement of a variety of combinations for dissolved oxygen, conductivity, specific conductance, salinity, resistivity, total dissolved solids (TDS), pH, ORP, pH/ORP combination, ammonium (ammonia), nitrate, chloride and temperature.
*****************
SONTEK / YSI FLOWTRACKER HANDHELD-ADV® (Acoustic Doppler Velocimeter) measures 2D or 3D currents, attaches easily to wading rods, and features an automatic discharge computation using a variety of international methods, including ISO and USGS standards. Comes with Deluxe SonTek two piece, top-setting wading rod kit (1.2 m or 4 ft) including case and mounting brackets
*****************
WILKS INFRACAL TOG/TPH ANALYZER. This unit provides an easy infrared analysis method for on-site measurement of total oil and grease (TOG), and total petroleum hydrocarbon (TPH) in water and soil samples and fat, oil and grease (FOG) levels in water samples. It can read out infrared absorption values or they can be calibrated to display concentrations directly in any desired format such as ppm or milligram/kg.
*****************
YSI 6150 ROX ® Optical Dissolved Oxygen Sensor (6-Series) Wiped probe with easy-to-replace durable membrane. ROX is fully compatible with all YSI 6-Series sondes with optical ports. Calibrate with easy one- or two-point calibration. Includes widest detection range of any optical dissolved oxygen sensor. Insensitive to H2S
*****************
The Precision Flow 190PD is a portable hand held Dual Mode clamp-on ultrasonic flowmeter. The Precision Flow 190PD can operate in both Doppler and Transit time modes, this allows the flow measurement of both dirty and clean fluids and also includes a choice of analog outputs, thickness gauge option, graphical display of data, data logger, RS232, USB, on board help, automatic speed of sound measurement and flow profile correction algorithm.
*****************
LA MOTTE SMART 3 COLORIMETER. The compact SMART3 Colorimeter is ideal for water analysis in the field or in the lab. Easy to use software allows the analyst to choose a test factor from over 75 pre-programmed calibrations for LaMotte reagent systems. Reagents sold separately
*****************
THE PARTECH 740 SUSPENDED SOLIDS MONITOR provides, quick and accurate readings of Suspended Solids, Sludge Blanket Level, and Turbidity, via an intuitive menu structure from a totally portable package.
*****************
YSI EXO MULTI-PARAMETER WATER QUALITY SONDE is configured with Cond / Temp; pH; DO; Turbidity. Accessories include 66 meter Field Cable; Handheld Display; Rechargeable Li-on Battery Pack; Wheeled Carry Case; USB Adapter; Wiper; Anti-Fouling Sleeves
*****************
YSI BLUE GREEN ALGAE SENSOR
6. METEOROLOGICAL DATA
GARMIN GPSMAP 76. Designed to provide precise GPS positioning using correction data obtained from the Wide Area Augmentation System. Has an internal memory capacity of eight megabytes. In addition, it comes with a built-in basemap of cities, coastlines, lakes, rivers, interstates and interstate exit information and a database of nautical navaids
*****************
RAINWISE PORTLOG - PORTABLE WEATHER LOGGER. This instrument operates as a completely self-contained system. No power is required. The solar/battery supply will power the system continuously. The PORTLOG will measure and record Wind Speed, Direction, Temperature
*****************
KESTREL POCKET 4500 WEATHER METER. Capable of monitoring and reporting an exhaustive list of environmental parameters – from temperature to barometric pressure, dewpoint, wind chill, and more. Comes with Soft Carry Pouch, Neck Lanyard, 2-AAA Batteries
*****************
SPER SCIENTIFIC VISIBLE LIGHT LOGGER. Advanced Light Meter. NIST Certified. Reads lux, foot candles and functions as a type K or J thermometer. Records data onto standard SD memory cards.When full, simply exchange SD cards for unlimited data storage. Removable SD card is easy to transport and insert into a computer's memory card slot or SD card adapter. Uploads preformatted data to Excel™ without the need for additional software and cables. Additional SD cards are readily available in a variety of memory sizes. Can also stream data directly to a computer using the optional software and cables. Each data set includes lux or foot candle reading, time and date. Features large, easy-to-read backlit LCD, push-button zero adjustment, min./max., auto power off, low battery indicator and hold function
*****************
RAINWISE SOLAR POWERED PORTABLE WEATHER LOGGER. Developed for measuring and recording in remote areas, the RainWise Portable Weather Logger (PORTLOG) operates as a completely self contained system. No power is required for this RainWise weather station. The solar/battery supply will power the system continuously anywhere in the contiguous United States. The record rate is user selectable from once a minute to once an hour. The 128K non-volatile RAM will store over 6 months of data at a one hour record rate. Memory may be upgraded to up to 2MB. Windows™ based data retrieval software is provided for downloading stored data. The logger with all sensors, a battery charger, compass and a ten foot rugged tripod are all contained in a sturdy lockable carrying case. All the sensors are on this solar powered weather station are traceable to NIST. The PORTLOG can be completely set up and made operational by one person in less than 3 minutes.
7. BREATH ANALYZERS
ALCO-SENSOR IV (AS IV) . The Alco-Sensor IV follows an automated, software driven test protocol. Each function is displayed on an LED display which provides the operator with step-by-step instructions for fail-safe testing. The ASIV automatically samples deep lung breath and displays the result in a three digit readout (two or four digits where required). The proper insertion of the mouthpiece powers the instrument ON and a mouthpiece release feature, which eliminates operator contact with a used mouthpiece, turns the instrument OFF.
*****************
ALCO-SENSOR FIELD SOBRIETY TESTER (AS FST) . This is a pocket-sized, hand-held breath alcohol tester. Does not data-log. The Alco-Sensor FST (ASFST) provides precise, accurate, repeatable results on direct breath sample testing. The instrument is also designed to offer a simple passive testing procedure for quick screening of a large number of subjects and the capability of measuring the headspace over a solution to identify alcohol in a suspected open container. While the Alco-Sensor FST is designed to withstand field use in a policing environment, it is also designed to offer intuitive, simple operating procedures and have sample collection requirements that minimize risk to the operator.
*****************
ROADSIDE BREATH TESTER IV (RBT IV) . This consists of an Alco-sensor IV (AS IV) and a programmed microprocessor printer which stores test information and produces an automatic, hard-copy of the test results. The RBT IV consists of an Alco-Sensor® IV and a programmed Microprocessor Printer which prompts the step-by-step test sequence, prints a hard copy of the result and stores test information to memory. Unique Features: The standard RBT IV will request the entry of subject and/or operator information prior to performing a test and then will produce a hard copy result documenting the collected data along with pertinent test result information. Specific test protocols are available, off the shelf, including DOT, NRC and Law Enforcement protocols. Custom protocols in a variety of languages can also be designed upon request with three or four digit results.
*****************
8. MISCELLANEOUS
RAE MultiRae Enclosure
Sealed Lead Acid Battery12V AH (External Battery Pack)
SLIK U 9800 Tripod Stand
Surveyor's Tripod Stand (Heavy Duty)
Lead Acid Battery Charger
Note on A170: Standard Features - Multi-language instrument and software (English, Spanish, French, Italian, and German) - Proven velocity accuracy to as low as 0.001 m/s (0.003 ft/s) and up to 4.0 m/s (13 ft/s) - Automatic discharge calculation - International techniques, including ISO and USGS standards - Record changing gauge heights and rated flows, with comments in each measurement - Automatic discharge uncertainty calculation to ISO standard. A FlowTracker First! - Measure velocities in water as shallow as 2 cm (less than an 1 inch) - Keypad interface with real-time velocity and flow display - Automatic quality control for accurate data collection - Two or three dimensional velocity measurement - Recorded data is shielded from power loss - Lightweight, rugged, and waterproof - No calibration required - ever! - Built-in temperature sensor
Note on A172: Sandra Rajkumarsingh: A range of optional accessories expands the capabilities and versatility of the InfraCal TOG/TPH Analyzers. The battery pack that provides up to 16 hours of continuous operation enables the analyzer to be used for field testing. A small, portable printer further enhances the analyzer’s capability for on-site field use providing sequenced and time stamped printouts of analytical results. In addition, the calibration table can be printed giving a complete record for a series of analyses. Transporting the InfraCal TOG/TPH Analyzer and various accessories is easy with our sturdy carrying case with pre-diced pluck foam inserts.
Note on A178: Sandra Rajkumarsingh: La Motte #4367

## NOTES
QUEST SOUNDPRO DL TYPE 2 (2-1/3-10) DATALOGGING SOULD LEVEL METER
Item # | Item | Notes
1.03 | MSA WATCHMAN MULTIGAS MONITOR | Actual rate increased by 10% as per Gary's instructions
1.18 | AREA RAE GAS MONITOR | INSTRUCTIONS PER EMAIL D/D 08-AUG-2012 FROM N SEERAM
1.04 | MSA ORION 4-GAS DETECTOR. | Per Shiv's instructions on 27-Mar-03 - use Passport rental prices
1.05 | MINIRAE 2000 PGM-7600 | Actual rate increased by 10%, as per Gary's instructions
1.06 | MULTIRAE PGM-50 MULTIGAS DATALOGGING MONITOR. | Actual rate increased by 10%, as per Gary's instructions
1.09 | RAE UNITS | All RAE units carry a 2 year period - due to useful life of sensor
Per Gary's instructions via telecon on 28-Oct-2011 at 4.33 p.m. should be the same for all gas detectors
1.14 | QRAE II MODEL PGM-2400. | Added 07-Dec-2010
1.15 | ULTRARAE 3000 PORTABLE HANDHELD BENZENE AND COMPOUND-SPECIFIC VOC MONITOR | ADDED 05-AUG-2011
1.16 | RAE MultiRAE Lite Wireless Portable Multi-Gas Monitor | Cost per RAE #3038 this unit was purchased at 50% of list price. Per Gary use 100% replacement cost. Per Stacey 100% is cost per PO#3038 x 2 - 25%
1.17 | The Gasmet DX4040 FTIR Gas Analyzer | Instructions from Gary via email d/d Jun-2012
2 year period - as per Gary's instructions via telecon on 28-Oct-2011 at 4.33 p.m. should be the same for all gas detectors
2.08 | TSI PORTACOUNT RESPIRATOR FIT TESTER | Per emailed instructions from Natasha d/d 12-Sept-2012
5.34 | YSI 6150 ROX ® Optical Dissolved Oxygen Sensor (6-Series) | Per emailed instructions from Gary d/d 26-Oct-2012
| LA MOTTE SMART 2 COLORIMETER | 2 years per verbal communication with Gary on 28-Oct-2011 at 4.04 pm
4.29 | AEROCET 531 PARTICLE MONITOR | ~ Initial price of unit purchased 2011 was $12,324 - rental prices based on Stacey's email d/d 06-May-2011 - using cost of Demo unit
~ 2nd unit purchased 2012 cost $17,485.07
~ Rental prices adjusted accordingly based on 2012 cost - Oct-2012
~ Previous rental prices based on Demo Cost - using a 3 year useful life: D - $740; W - $1540; M - $4515
~ Current rental prices based on Full Replacement Cost - using a 2 year (per Gary's verbal instructions - as it will require calibration etc) useful life: D - $1050; W - $2190; M - $6120
4.31 | Ludlum Model 3-IS Intrinsically Safe Survey Meter | Per emailed instructions from Gary d/d 12-Dec-2012
5.35 | The Precision Flow 190PD is a portable hand held Dual Mode clamp-on ultrasonic flowmeter. | 2 years per verbal communication with Gary on 10-Jan-2013 at 2.57 pm - he says the unit requires to be sent for calibration after some time
3.01 | QUEST MODEL 2900 INTEGRATING / DATALOGGING SOUND LEVEL METER | Last year's price still stands, as per Gary's instructions. The 10% increase at Feb-07 not applied. Only 5% increase at Dec-08 applied
2.07 | MSA WELDERS MASK. | prices incresed by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
3.03 | QUEST MODEL Q-300 NOISE DOSIMETER | Actual rates increased by 10% as per Gary's instructions
3.01 | QUEST MODEL 2900 INTEGRATING / DATALOGGING SOUND LEVEL METER | 2 years dep per Gary's instructions on 27-May-09
3.07 | QUEST SOUNDPRO DL TYPE 2 SOUND LEVEL METER. | 2 years dep per Gary's instructions on 27-May-09
3.14 | QUEST NOISEPRO DL DOSIMETER KIT | actually purchased at discounted price for demo purposes at $7980. per gary's instructions, use normal landed cost (quest #1337 - mar-07)
4.05 | TSI VELOCICALC PLUS MULTI-PARAMETER VENTILATION METER | 2 year depreciation rate - per Gary's instructions (refer costing file
4.03 | QUEST AQ-5001 PORTABLE INDOOR AIR QUALITY MONTIOR | Actual rates increased by 10%, as per Gary's instructions
3.17 | QUEST SOUNDPRO DL TYPE 1 (1-1/3-20) DATALOGGING SOULD LEVEL METER | Per emailed instructions from Sherida - see comment attached
1.12 | THE SENTRY RAE GAS DETECTOR | 2 year period - due to useful life of sensor
2.01 | MSA SELF CONTAINED BREATHING APPARATUS (SCBA Set). | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.02 | MSA PREMAIRE AIR LINE RESPIRATOR | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.03 | TACKABERRY BREATHING AIR CART | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.04 | BREATHING AIR MANIFOLD | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.05 | MSA COMPOSITE FIBRE CYLINDERS | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.06 | 100FT. NEOPRENE BREATHING AIR HOSE | prices increased by 5% Dec-08 up from a 10% increase Feb-07 - Last year's price still stands, as per Gary's instructions
2.07 | MSA WELDERS MASK | Cost of 1 Welders Mask and 1 Filter Plate
2.08 | TSI 8025-17 NORTH FIT TEST ADAPTER KIT | sandra: included 10-Feb-2011
1.13 / 8.02 | RAE MultiRae Enclosure | Prices revised per email d/d 19-Mar-2013
4.01 | QUEST Q15 HEAT STRESS MONITOR
4.04 | QUESTTEMP 36
4.02 | TSI DUST TRAK AEROSOL MONITOR | Cost of Dust Trak + Enclosure + Tripod | Actual rates increased by 10%, as per Gary's instructions
4.16 | AIRMETRICS MINIVOL SAMPLER | Gary: Changed -01-may-2009 for Daily, Weekly, Monthly
4.17 | SKC AIRCHECK 2000 PUMP KIT | Cost of 3 units aggregated inclusive cost of 3 cyclones and average cost used.
Cost of 1 additional cyclones added Apr-09 - Refer SKC #2034
4.23 | SKC AIRCHECK XR5000 | 1 pump kit - 5pk with 5 cyclones - refer SKC PO #2034
4.28 | SKC GAST MODEL 1532 | purchased Dec-2010
4.27 | QUEST EVM-4/CO INDOOR AIR QUALITY | purchased Oct-2010
5.1 | YSI 600XL WATER QUALITY MONITOR | Cost per costing sheet plus TT$6884.19 extra (US$1061) for the replacement cost of a new unit
5.19 | ISCO 4150 AREA VELOCITY FLOW LOGGER. | Initial cost of $14504 + cost of accessories purchased 12/99
5.23 | ISCO 750 AREA VELOCITY LOW PROFILE MODULE. | Est. landed cost for 1 unit at normal prices, per Shanta's costing (22-Jun-06) avg. $15000
N.B. Landed cost of Demo Unit - $12167
5.3 | LA MOTTE SMART SPECTROPHOTOMETER | Cost taken from PO#1917
4.32 | MET ONE E-SAMPLER | Estimated useful life of 3 years - as per Gary's verbal instructions d/d 19-Nov-2014
10.1 | Technical Fees | As per email from A Ramsingh d/d 08-Jan-2015
1.31 | The Connext Pak: 4-QRAE 3 units with Standard Configuration and 1-EchoView. | As per email from G Teixeira / M Jailal d/d Wed-06-May-2015
1.32 | The Gas Clip Multi-Gas Detector with Infrared Sensor (MCG-IR) with MGC Pump | As per email from GT / CD d/d 16-Jun-2015
1.33 | Probe for Gas Clip Mult-Gas Detector | Correspondence\2015\Probe for Gas Clip Monitor.msg
5.37 | Partech 740 Suspended Solids Monitor | Correspondence\2015\Partech 740 Suspended Solids Monitor.msg
5.38 | YSI EXO Sonde | Correspondence\2015\Rental prices .msg
\\rosedc3\RoseShare\COSTING FILE\YSI\2015\4981.xls
4.33 | GRAY WOLF ADVANCED SENSE | R:\COSTING FILE\Gray Wolf\GrayWolf#4922.xls
Landed cost was adjusted to reflect the cost of the FM-801 (4.34) below
4.34 | GRAY WOLF FORMALDEHYDE METER | Costing included both the AS (4.33) above and the FM. The US$ cost of the
FM alone - per the Gray Wolf Invoice was used x a US$ rate of 10 (to accommodate
for all other shipping charges) to obtain a TT$ landed price for the Price List
purposes only
Correspondence\2015\RE Rental prices .msg
4.35 | NEXTTEQ DELUXE AIRTEC REGULATOR KIT | \\rosedc3\RoseShare\COSTING FILE\Nextteq\2014\4241.xls
3.08 | QUEST NOISEPRO PERSONAL NOISE DOSIMETER. | Correspondence\2015\Rental Price List.msg
4.36 | FLIR C2 Compact Thermal Imaging System | ..\..\COSTING FILE\Amazon\AMAZON #5015 - REVISED.xlsm
4.36 | FLIR Systems MR160 Imaging Moisture Meter | ..\..\COSTING FILE\Amazon\AMAZON #5015 - REVISED.xlsm
10.11 | Downloading of Data - per Instrument | Correspondence\2016\RE Foot Notes.msg
3.2 | Svantek 971 Sound Level Meter - inclusive of S33 Class 1 Acoustic Calibrator | Correspondence\2016\RE Svantek - S33.msg
1.16 | MultiRae Lite | Correspondence\2016\MultiRae Lite description changed.msg
4.33 | GRAY WOLF ADVANCED SENSE IAQ PLUS MONITOR. | Correspondence\2016\Revision of Rental Prices for Gray Wolf AS FM and Nextteq Airtec.msg
4.34 | GRAY WOLF MODEL FM-801 | Correspondence\2016\Revision of Rental Prices for Gray Wolf AS FM and Nextteq Airtec.msg
4.35 | NEXTTEQ DELUXE AIRTEC REGULATOR KIT | Correspondence\2016\Revision of Rental Prices for Gray Wolf AS FM and Nextteq Airtec.msg
4.36 | GRAY WOLF Advansed Sense BE IAQ Plus Indoor Air Quality and Survey Monitoring Kit. | ..\..\COSTING FILE\Gray Wolf\5453.xls
5.4 | YSI BLUE GREEN ALGAE SENSOR | X:\Accounts\Assets\ASSET REGISTERS\Correspondence\WQD Blue Green Algae Sensor.msg
..\..\COSTING FILE\YSI\2016\5575.xls
1.35 | Single Gas O2 Monitor | Correspondence\2017\RE Gas Clip Single Gas O2 Monitor.msg
4.34a | Gray Wolf Formaldehyde Sensor Cartridge | Correspondence\2017\Gray Wolf Formaldehyde Sensor Cartridge.msg
1.36 | Dell Laptop - Latitude 15 3000 series | Correspondence\2017\Pro Rae Guardian Laptop.msg
Correspondence\2017\Pro Rae Guardian Laptop - Category.msg
Also refer to Amazon #4747 for cost of Carry Case to be used with Laptop
1.39 | ProRae Guardian Software | Correspondence\2017\Rental Price List Update - ProRae Guardian Software.msg
1.4 | Attabox Polycarbonate Enclosure - for use with the RAE AreaRae Monitors | H:\Accounts\Assets\ASSET REGISTERS\Correspondence\2017\Amazon Attabox Enclosures.msg
7.01 | ALCO-SENSOR IV (AS IV) WITH MEMORY | Correspondence\2017\Rental Price for Breathalyzers.msg
7.02 | ALCO-SENSOR FIELD SOBRIETY TESTER (AS FST) | Correspondence\2017\Rental Price for Breathalyzers.msg
4.39 | Environmental Monitoring System IAQ E-Pro HD Pump Kit, flow range 2-30lpm | Correspondence/2017/Environmental Monitoring #5908 - IAQ Monitor.msg
6.08 | RAINWISE SOLAR POWERED PORTABLE WEATHER LOGGER | Correspondence/2017/RAINWISE SOLAR POWERED PORTABLE WEATHER LOGGER.msg
Correspondence/2017/RAINWISE SOLAR POWERED WEATHER LOGGER.msg
Note on B3: From: Sherida Mohammed Sent: Wednesday, July 08, 2009 10:32 AM To: Sandra Rajkumarsingh Subject: Additions to the Rental price list Hi Sandra, Gary would like you to include two items under the Industrial Hygiene heading with the associated rental rates: Using the formula: Landed cost/2 * 0.13 (Daily rate) Landed cost/2 * 0.27 (Weekly rate) Landed cost/2 * 0.70 (Monthly rate) Rounded off to the nearest dollar (i) SoundPro DL 1-1/3-20 – Landed cost: $27732.72 Daily rate: $1803.00 Weekly rate: $3744.00 Monthly rate: $9707.00 Description: Quest SoundPro DL Type 1 Datalogging Sound Level Meter. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Includes: (4) disposable "AA" alkaline batteries, wrist strap, windscreen, calibrator adapter, USB cable, SD Memory Card, 1/3 Octave RTA, which separates sound frequencies, QC-20 Calibrator and carrying case. (ii) SoundPro DL 2-1/3-10 - Landed cost: $21564.98 Daily rate: $1402.00 Weekly rate: $2912.00 Monthly rate: $7548.00 Description: Quest SoundPro DL Type 2 Datalogging Sound Level Meter. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Includes: (4) disposable "AA" alkaline batteries, wrist strap, windscreen, calibrator adapter, USB cable, SD Memory Card, 1/3 Octave RTA, which separates sound frequencies, QC-10 Calibrator and carrying case. I recommend you double check these calculations since this is new to me. Thanks much, Sherida Mohammed
Note on C8: From: Natasha Ramdass-Seeram Sent: Wednesday, 08 August 2012 11:52 AM To: Sandra Rajkumarsingh Cc: Stacey Boodram; Sophia Guy-Yan Hip Subject: FW: New AreaRAE Hi Sandra, Please add to rental price list. Best Regards, Natasha Ramdass-Seeram Technical Assistant R.O.S.E Environmental Limited Technical Support Department # 80 Carli Bay Road, Perseverance Village Couva. Email - natasha@roseenvironmental.net Phone:# 387-0575 Fax:# 679-1080 " Many of Life’s Failures are People who had not Realised how Close they were to Success when they gave up” From: Stacey Boodram Sent: Wednesday, 08 August 2012 11:36 AM To: Natasha Ramdass-Seeram Subject: RE: New AreaRAE Hi Tash, We have acquired a new AreaRAE for ROSE Rental fleet. Kele will be bringing it to TSD this afternoon. Please include it in the Equipment Log. Thanks. Stacey Boodram Customer Service Team Leader ROSE Environmental Limited Phone: 868-638-1640 or 7673 Cell: 868-352-0750 Fax: 868-675-1988 E-mail: staceyb@roseenvironmental.net Thank You! Gracias! Obrigado! Merci! Shalom! Danke! Takk! From: Natasha Ramdass-Seeram Sent: Wednesday, August 08, 2012 11:31 AM To: Stacey Boodram Subject: RE: Pending Purchase Order Yeah I know….. Best Regards, Natasha Ramdass-Seeram Technical Assistant R.O.S.E Environmental Limited Technical Support Department # 80 Carli Bay Road, Perseverance Village Couva. Email - natasha@roseenvironmental.net Phone:# 387-0575 Fax:# 679-1080 " Many of Life’s Failures are People who had not Realised how Close they were to Success when they gave up” From: Stacey Boodram Sent: Wednesday, 08 August 2012 11:26 AM To: Natasha Ramdass-Seeram Subject: RE: Pending Purchase Order Iz time for she to get cuss! Stacey Boodram Customer Service Team Leader ROSE Environmental Limited Phone: 868-638-1640 or 7673 Cell: 868-352-0750 Fax: 868-675-1988 E-mail: staceyb@roseenvironmental.net Thank You! Gracias! Obrigado! Merci! Shalom! Danke! Takk! From: Natasha Ramdass-Seeram Sent: Wednesday, August 08, 2012 11:25 AM To: Stacey Boodram Subject: RE: Pending Purchase Order I don’t know will have a call her again about it. Best Regards, Natasha Ramdass-Seeram Technical Assistant R.O.S.E Environmental Limited Technical Support Department # 80 Carli Bay Road, Perseverance Village Couva. Email - natasha@roseenvironmental.net Phone:# 387-0575 Fax:# 679-1080 " Many of Life’s Failures are People who had not Realised how Close they were to Success when they gave up” From: Stacey Boodram Sent: Wednesday, 08 August 2012 09:18 AM To: Natasha Ramdass-Seeram Subject: RE: Pending Purchase Order Tash, What going on with Tiger Tanks outstanding PO for the replacement probe? Stacey Boodram Customer Service Team Leader ROSE Environmental Limited Phone: 868-638-1640 or 7673 Cell: 868-352-0750 Fax: 868-675-1988 E-mail: staceyb@roseenvironmental.net Thank You! Gracias! Obrigado! Merci! Shalom! Danke! Takk! From: Natasha Ramdass-Seeram Sent: Wednesday, August 08, 2012 9:10 AM To: sdenoon@np.co.tt Cc: Stacey Boodram; Marc Ramberan; Sophia Guy-Yan Hip Subject: Pending Purchase Order Good-morning Mr. Denoon, Please note that the service of your six monitors was completed. The quotations are attached for your review. Kindly forward purchase order so we can proceed with invoicing. Feel free to contact us if you have any questions. Best Regards, Natasha Ramdass-Seeram Technical Assistant R.O.S.E Environmental Limited Technical Support Department # 80 Carli Bay Road, Perseverance Village Couva. Email - natasha@roseenvironmental.net Phone:# 387-0575 Fax:# 679-1080 " Many of Life’s Failures are People who had not Realised how Close they were to Success when they gave up”
Note on C15: Key Features Superior Performance; Petrochemical Proven PID technology 3-second response in VOC mode or 60 seconds in compound-specific mode Extended range up to 10,000 ppm (in VOC mode) with improved linearity Humidity compensation with built-in humidity sensor Automatic temperature-controlled sampling time calculation Detects benzene down to 50 ppb (0.05 ppm) Unique 15-minute benzene STEL calculation with 15-minute real-time benzene-specific measurement and recording Highly specific readings, combining a 9.8eV UV lamp and RAE-Sep™ benzene tube New sampling probe design provides instant tube-breakthrough visibility Extremely Versatile VOC mode or Benzene-Specific mode for extreme versatility Real-time wireless data transmission with built-in Bluetooth and optional RAELink3 portable modem Integrated RAE Systems Correction Factors list for more than 200 compounds, measuring more compounds than any other PID Field-interchangeable battery pack is replaceable in seconds without tools Easy to Use Large graphic display Multi-language support Easy access to lamp and sensor in seconds without tools
Note on C17: From: Gary C. Teixeira Sent: Friday, 15 June 2012 01:31 PM To: Aaron Ramsingh; Danielle Rousseau; Elizabeth Seebaran; Sherida Mohammed; Vintee Ramdath Cc: Andrew Persad; Caimraj Dharamdass; Stacey Boodram; Marc Ramberan; Sandra Rajkumarsingh Subject: Gasmet DX-4040 Good afternoon all. As we have completed training with the Gasmet DX-4040 and we are ready to get some jobs completed with instrument, and get lots of practice using it , I would like to formalize the pricing on this instrument. We typically use a formula to determine rental prices based on the landed cost of the instrument, and the estimated usage of the instrument in terms of days , weeks and months rented for a 12 month period. The Gasmet may be different than the typical rental and I can envisage more 1-day rentals. Based on the landed cost (and a 3-year payback period) the rates should be $10,400/day; $21600.00/week, and $56,000.00/month. Also a technician will have to accompany the Gasmet instrument and we will have to ensure that we cover this cost also. The following is my introductory cost proposal : 1. ½ day rental of $5200 / 4 hours + 2 hrs. tech time + reporting and analytical time if we have to download, analyze for unknowns and provide data. 2. Daily rental of $9360 + 2 hrs. tech time + reporting and analytical time if we have to download, analyze for unknowns and provide data. 3. Weekly rental of $19440.00 + tech time and analytical time 4. Monthly rental of $50,400 + tech time and analytical time. These costs are very much in line with what companies are renting out Gasmet instruments in the US Can we put this on our price list, and start quoting potential customers. Remember, we will not be renting this instrument yet without a technician to accompany and operate the instrument. We will have to ensure an ample supply of high purity N2 gas for the instrument zero – so please check the stick and order if necessary. I would suggest that at a minimum stock of 4 cylinders we order 6 more … based on the calibration gas lead time. Stacey can you get me some options on larger sizes of transportable cylinders – the large 8Al’s will not be feasible to take into the field After the in house training next week, I will start to schedule a few customer site visits and demos, which I would like to have an actual field demo completed. We will be targeting : Atlantic, Petrotrin, BP, BGTT, Repsol, EOG, PCS, IPSL, Fire services Hazmat, EMA , UWI, and OSH for potential purchase of an instrument. Rentals will be for applications where there is a problem: either with odor, health symptoms , fugitive emissions or an event which requires a Hazmat response Please contact me if you have any questions or concerns and I look forward to getting this Gasmet technology launched successfully. Thanks and Kind regards. Gary Teixeira CEO-ROSE Environmental Ltd. Unit#7 Lot #2C Chootoo Road El Socorro Trinidad. WI. Phone : 868-638-7673; 638-1640 Fax : 868-675-1988 Mobile: 868-378-3350 http://www.roseenvironmental.net
Note on C19: From: Natasha Ramdass-Seeram Sent: Wednesday, 12 September 2012 11:03 AM To: Sandra Rajkumarsingh Cc: Gary C. Teixeira; Caimraj Dharamdass Subject: Porta Count Hi Sandra, Please note as per Gary’s & Caimraj’s discussion they decided to remove the Portacount Fit Tester from the Rental Price Pages. 2.08 TSI PORTACOUNT RESPIRATOR FIT TESTER. Makes a direct measurement of respirator fit factors. There are no error-inducing assumptions made to calculate "equivalent" fit factors. The Portacount eliminates the human variables associated with qualitative methods. Results are immediate and unambiguous. $ 1,752 $ 3,645 $ 10,209 $ 40,427.03 Please be guided accordingly. Best Regards, Natasha Ramdass-Seeram Technical Assistant R.O.S.E Environmental Limited Technical Support Department # 80 Carli Bay Road, Perseverance Village Couva. Email - natasha@roseenvironmental.net Phone:# 387-0575 Fax:# 679-1080 " Many of Life’s Failures are People who had not Realised how Close they were to Success when they gave up”
Note on C20: From: Gary C. Teixeira Sent: Friday, 26 October 2012 01:21 PM To: Sandra Rajkumarsingh Subject: 2 years for WQ probes Sandra… as per our procedures discussed in the past, please use 2 years payback when calculating rental prices for water quality instruments , which includes the probes as these have a limited life span. Thanks Gary Teixeira CEO-ROSE Environmental Ltd. Unit#7 Lot #2C Chootoo Road El Socorro Trinidad. WI. Phone : 868-638-7673; 638-1640 Fax : 868-675-1988 Mobile: 868-378-3350 http://www.roseenvironmental.net
Note on C28: From: Gary C. Teixeira Sent: Tuesday, 11 December 2012 11:53 AM To: Aaron Ramsingh; Danielle Rousseau; Elizabeth Seebaran; Sherida Mohammed; Vintee Ramdath Cc: Caimraj Dharamdass; Marc Ramberan; Sandra Rajkumarsingh; Stacey Boodram; Andrew Persad Subject: Ludlum - Norm and other testing for exposure to ionizianing radiation Please note that we have acquired a Ludlum Model 3-IS so we can now offer Norm testing services and monitoring for other exposure to ionizing radiation – X-rays, Non-destructive pipe testing, Preparation of logging tools using radiation sources, etc. Aaron, can we review the procedure we helped develop for BPTT and customize this into a SOP for Norm testing services – do you have a copy of the BP procedure Sandra, can you add this instrument to the rental price list under IH equipment ( use 2 year payback) Debbie already confirmed that we have this instrument insured. Thanks. Regards Gary Teixeira CEO-ROSE Environmental Ltd. Unit#7 Lot #2C Chootoo Road El Socorro Trinidad. WI. Phone : 868-638-7673; 638-1640 Fax : 868-675-1988 Mobile: 868-378-3350 http://www.roseenvironmental.net
Note on C38: From: Sherida Mohammed Sent: Wednesday, July 08, 2009 10:32 AM To: Sandra Rajkumarsingh Subject: Additions to the Rental price list Hi Sandra, Gary would like you to include two items under the Industrial Hygiene heading with the associated rental rates: Using the formula: Landed cost/2 * 0.13 (Daily rate) Landed cost/2 * 0.27 (Weekly rate) Landed cost/2 * 0.70 (Monthly rate) Rounded off to the nearest dollar (i) SoundPro DL 1-1/3-20 – Landed cost: $27732.72 Daily rate: $1803.00 Weekly rate: $3744.00 Monthly rate: $9707.00 Description: Quest SoundPro DL Type 1 Datalogging Sound Level Meter. Ideal for Occupational Noise Evaluations, Hearing Protector Selection Measurements, Environmental Noise Assessments, Noise Ordinance Enforcement and Legal Metrology, General Sound and Frequency Analysis Measurements. Full compliance with latest US and international standards, proven friendly menu driven user interface, high speed digital signal processor with fast data transfer rate. Includes: (4) disposable "AA" alkaline batteries, wrist strap, windscreen, calibrator adapter, USB cable, SD Memory Card, 1/3 Octave RTA, which separates sound frequencies, QC-20 Calibrator and carrying case. I recommend you double check these calculations since this is new to me. Thanks much, Sherida Mohammed
Note on C48: From: Sandra Rajkumarsingh Sent: Tuesday, 19 March 2013 12:39 PM To: Vera Khan; Dana Narine Cc: Caimraj Dharamdass Subject: RE: Cost of RAE Enclosure Importance: High Vera 1.13 THE MULTIRAE ENCLOSURE casing which protects the MultiRAE when it is used outdoors $ 210 $ 420 $ 840 This price was provided to me previously – not quite sure by whom – the standard formula for calculation was not used 8.02 RAE MultiRae Enclosure $ 30 $ 50 $ 130 $ 550.00 This price was calculated using the standard formula – based on a cost of $550 8.02 RAE MultiRae Enclosure $ 30 $ 70 $ 180 $ 750.00 As per my verbal discussions with Caimraj – the cost to acquire the various components and put the item together has since increased to $750. Based on the foregoing, I have deleted item 1.13 from the price list and have revised the acquisition cost and associated rental rates accordingly
Note on C63: To: Aaron Ramsingh Subject: RE: RFS Notification : Bid Period Open. Hello Aaron… Use the following standard rental prices for the E-Sampler with WS/WD and Temp/RH options included: Daily : $1430 Weekly: $2980 Monthly: $8344 Regards Gary T ROSE Environmental From: Aaron Ramsingh Sent: Monday, November 17, 2014 8:22 AM To: Gary C. Teixeira Subject: RE: RFS Notification : Bid Period Open. Hi, Gary! Do we have a rental price for the E-sampler? I’m not seeing it on the main copy of the price list. Thanks, Aaron
Note on C64: Sandra Rajkumarsingh: From: Aaron Ramsingh Sent: Thursday, January 08, 2015 3:25 PM To: Dana Narine; Caimraj Dharamdass; Gary C. Teixeira Cc: Sandra Rajkumarsingh; Natasha Ramdass-Seeram Subject: RE: Documentation Required for 2015 Hi, Dana! Rates would be as follows: Standard Overtime (Weekdays, Saturday) Overtime (Sunday, Holidays) App Spec $350/hr $525/hr $700/hr Field Service Tech $250/hr $375/hr $500/hr These are standard hourly rates for projects and can be included in the ROSE price list. For TAR/shutdown, the rates are usually based on the facility as we will include allowances on a case-by-case basis. For PLNL, I would use a per shift cost of $375 x 12 hours + ($100 meal) = $4600 per 12hr shift (day or night). Let me know if this is ok, Aaron
Note on C65: Hi Sandra, The estimate landing cost for 4 Q-RAE III units (with Standard configuration )and an Echo view is - $34,832.00 Regards, Michael Jailal Technical Sales Specialist ROSE Environmental Ltd Unit#7, LOT 2C Chootoo Road El Socorro Trinidad, WI Phone# 638-7673 Fax# 675-1988 Mobile#365-0535 Michael@roseenvironmental.net http://www.roseenvironmental.net/ From: Sandra Rajkumarsingh Sent: Wednesday, May 06, 2015 10:17 AM To: Gary C. Teixeira; Michael Jailal; Marc Ramberan Cc: Andrew Persad; Caimraj Dharamdass; Tariq Ali Subject: RE: Visit to Trinidad - follow up Importance: High Morning Michael – please advise on the status of item 1.c. below. Regards, S From: Gary C. Teixeira Sent: Sunday, April 19, 2015 10:49 AM To: Michael Jailal; Marc Ramberan Cc: Andrew Persad; Caimraj Dharamdass; Sandra Rajkumarsingh; Tariq Ali Subject: FW: Visit to Trinidad - follow up Importance: High Good morning everyone. I know that it has been a busy couple of weeks. In order to ensure that we do not lose momentum, lets ensure that we complete what we promised to do coming out of the Rae Systems meetings recently. 1. Atlantic : a. Marc, Caimraj – follow up with Bal on Mesh Guard demo. b. Michael – Send some info and costs on the Bio-Harness for Kizzy. c. Michael – Send Bal info and cost on a Connext Pak … 4 QRae III and 1 echo view… also see if we can get contact for person who coordinates the ERT at Atlantic and include them in this conversation. Please also provide estimated landed cost to Sandra, so that we can offer a rental price for companies having
Note on C66: From: Sandra Rajkumarsingh Sent: Tuesday, June 16, 2015 10:58 AM To: Caimraj Dharamdass; Gary C. Teixeira Subject: RE: Gas Clip Thanks guys – much appreciated S. From: Caimraj Dharamdass Sent: Tuesday, June 16, 2015 10:54 AM To: Gary C. Teixeira; Sandra Rajkumarsingh Subject: RE: Gas Clip Sandra, The IR link should be considered part of the monitor so use one price by adding the IR Link in price list. Thanks Caimraj From: Gary C. Teixeira Sent: Tuesday, June 16, 2015 10:47 AM To: Sandra Rajkumarsingh Cc: Caimraj Dharamdass Subject: RE: Gas Clip Use 2 years. Ask Caimraj about the IR link Regards Gary T ROSE Environmental From: Sandra Rajkumarsingh Sent: Tuesday, June 16, 2015 10:44 AM To: Gary C. Teixeira Subject: FW: Gas Clip Importance: High Hi again – also advise if this is to be rented as a complete unit i.e. gas monitor c/w IR link module – or as separate items? From: Sandra Rajkumarsingh Sent: Tuesday, June 16, 2015 10:46 AM To: Gary C. Teixeira Subject: Gas Clip Importance: High Hi Gary – please advise what is the useful life of the Gas Clip Multi-Gas Monitor – so as to calculate rental prices. Awaiting your prompt response……. Sandra
Note on B80: Detailed description removed - refer email d/d 03-Dec-2015